# Cables and Conductors

## 1

What is the purpose of circuit shielding and of housing a circuit in a conductive chassis?

## 2

In a series of circuits, what is usually referred to as the “common” connection?

## 3

What is the difference between an electrical supply ring, star and spur?

## 4

Compare and comment on the performance of cables in a cable bundle which are (i) common shielded, and (ii) individually shielded.

## 5

Explain the occurrence of ground loops in interconnections connections between audio equipment

## 6

What is the relationship between the turns ratio of a transformer and the voltages on each winding.

## 7

Compare balanced and unbalanced connections between equipment.

Explain differential signal and how this is employed in balanced connections to avoid interference.

## 8

Describe how phantom power is implemented.